# DC Hub × NLR — Derived Variables & Geometry Reference

Version 1 — 2026-07-15 — for JSC / reVeal technical review

This document is the data-dictionary companion to the NLR Intelligence Layer and the Phase 3 parcel-geometry enhancements shipped for reVeal. It defines every derived variable DC Hub computes — the exact inputs, the formula, the output range, and how to read it — plus the geometry methods that back the parcel and grid-headroom surfaces.

Guiding principle, consistent with the MOU's trust-first posture: every number here is either MEASURED (computed from geometry you or DC Hub supply) or MODELED (a proxy score from lookup tables + published resource data). Each variable below is tagged so an NLR researcher knows how much positional/estimation error to carry. Nothing here is a bare number without a stated basis.

Satisfies MOU Schedule E.1 (Data Dictionary deliverable) for the derived-intelligence and geometry surfaces. Complements — does not replace — the machine-readable /api/v1/methodology and /api/v1/data-dictionary.json endpoints (Schedule A.8).

Cross-references:

NLR_REVEAL_INTEGRATION_GUIDE.md — endpoint wiring

NLR_SCHEDULE_A_EXPANSION.md — endpoint surface & schedules

NLR_PRODUCT_ROADMAP.md — where these fit the roadmap

## TL;DR — what's new since the June 10 JSC kickoff

| Enhancement | Surface | Basis | What it gives reVeal |
| --- | --- | --- | --- |
| Geodesic parcel geometry | POST /api/v1/analyze-parcel | Measured | Acreage, centroid/representative_point, contiguity — from any GeoJSON, zero DC Hub positional error |
| Hosted parcel-boundary lookup | GET /api/v1/parcels/lookup, and analyze-parcel with bare lat/lng | Measured | Point → containing parcel polygon from hosted county/state GIS (pilot: Loudoun County VA) |
| data_basis provenance block | analyze-parcel response | — | First-class "measured vs modeled" flag on every geometry read |
| Derived-variable dictionary | this document | Mixed | Formal definition of all NLR Intelligence Layer scores |

## Part 1 — Geometry (MEASURED)

The geometry engine is self-contained — no PostGIS or Shapely dependency in the request path. It operates on any caller-supplied WGS84 GeoJSON, so the interface works whether the polygon comes from the caller or from DC Hub's hosted parcel layer.

Source: routes/interconnection_queues.py (_ring_area_m2, _ring_centroid, _members_from_geometry, api_analyze_parcel) and routes/parcels.py (hosted lookup).

### 1.1 total_acres / per-member acres — geodesic area

Input: the outer ring(s) of a GeoJSON Polygon / MultiPolygon, as [lng, lat] vertex pairs (WGS84 / EPSG:4326).

Method: spherical-excess line integral on a sphere of radius R = 6,378,137 m (WGS84 semi-major axis):

A_m² = | Σᵢ  radians(lonᵢ₊₁ − lonᵢ) · (2 + sin(latᵢ) + sin(latᵢ₊₁)) · R² / 2 |
  acres = A_m² / 4046.8564224

Output: acres per member (rounded 2 dp); total_acres = sum across members.

Basis: MEASURED. Ground truth from the exact vertices supplied — DC Hub adds 0 m of positional error. Accurate to well under a metre at parcel scale.

Why spherical-excess, not planar: a planar (shoelace-in-degrees) area is wrong by the cosine-of-latitude distortion — material at continental-US latitudes. Spherical excess is latitude-correct without a projection step.

### 1.2 representative_point — the anchor centroid

Method: planar shoelace centroid of the largest-area member, returned as {lat, lng}. Degenerate rings fall back to the vertex mean.

Basis: MEASURED (a few metres at parcel scale).

Design contract — read this: the representative point is deliberately the centroid of the single largest part, *never* the multi-part geometric center. A multi-part centroid can land off-parcel — in a highway median or a river between two discontiguous lots — and would then poison every downstream point-keyed read (grid, fiber, water, verdict). The largest-member centroid is guaranteed on-parcel.

### 1.3 contiguous + member_count — discontiguity flag

member_count = number of polygon members (1 for a Polygon; N for a MultiPolygon).

contiguous = member_count == 1.

How to read contiguous = false: the parcel is discontinuous. Treat setbacks, fencing, and point-of-interconnection per member, not as one summed footprint — the total_acres sum is real land but it is not one buildable pad.

### 1.4 Hosted parcel lookup — point → polygon

Surface: GET /api/v1/parcels/lookup?lat=&lng=[&include_geometry=1], and analyze-parcel when called with lat/lng and no geometry.

Method: PostGIS ST_Contains against the parcel_boundaries table (hosted free county/state open-data layers). Returns parcel_id, county, state, source acreage (acres_gis / acres_legal), county attributes, and optionally the polygon in the exact GeoJSON shape analyze-parcel accepts — so the analyze-parcel → analyze_site rail lights up on hosted data.

Coverage: rolling out by data-center-market priority. Pilot market: Loudoun County VA (~132K polygons). Live markets: GET /api/v1/parcels/coverage.

Basis: MEASURED (source polygon), with acres_per_source carried as published by the county (the source's number, not a DC Hub recomputation).

Scope honesty (proven 2026-07-06, do not re-litigate): ISO interconnection-queue rows carry no parcel identity and are mostly county-centroid geocoded, so queue handoffs never auto-carry a geometry. This layer serves callers that already *have* a location (a real site, an address geocode, a map click) — not queue rows.

### 1.5 data_basis — provenance on every geometry read

analyze-parcel returns a first-class provenance block so an agent knows how much to trust each number:

| Field | Meaning |
| --- | --- |
| geometry_source | caller-supplied WGS84 GeoJSON or DC Hub hosted county/state GIS parcel layer (point lookup) |
| area_method | geodesic spherical-excess — measured, not modeled |
| centroid_method | planar shoelace of the largest-area member |
| positional_error_added_by_dchub_m | 0 |

Contrast with the interconnection-queue handoff, where the anchor is a county_centroid (approximate) vs poi_exact — carried there as coordinate_precision. Geometry reads are the measured end of that spectrum.

## Part 2 — Derived variables: NLR Intelligence Layer (MODELED)

Source: nlr_intelligence.py. Four routes, each returning a headline score plus its component breakdown. These are MODELED proxy scores — they combine published resource data (NREL solar GHI, NREL wind class, IRA/state incentive proxies, USGS/NREL geothermal zones) with a live substation query. They are screening indicators, not engineering-grade siting numbers; every route carries a caveat to that effect.

Scoring convention: all scores are 0–100, higher = better unless noted.

### 2.1 Shared inputs / lookup tables

| Input | Source | Notes |
| --- | --- | --- |
| SOLAR_GHI[state] | NREL — kWh/m²/day | State-level global horizontal irradiance |
| WIND_CLASS[state] | NREL wind class 1–7 | Higher = stronger resource |
| TAX_INCENTIVE_SCORES[state] | IRA / state incentive proxy (0–100) | Modeled proxy, not a dollar figure |
| GEOTHERMAL_ZONES | USGS EGS Atlas + NLR/NREL research zones | 10 zones; each has a base potential 62–95 |
| substations table | HIFLD substation DB (hosted, Neon PG) | Live query by bounding box + haversine |

### 2.2 Component scores

| Variable | Formula | Range | Reads as |
| --- | --- | --- | --- |
| solar_score | step on GHI: ≥6.0→95, ≥5.5→85, ≥5.0→75, ≥4.5→65, ≥4.0→52, else 40 | 40–95 | Solar resource quality |
| wind_score | min(95, max(10, wind_class × 13)) | 10–95 | Wind resource quality |
| geothermal effective_score | base_potential × decay, where decay = max(0, 1 − d/radius × 0.5) and d = haversine km to nearest zone | 0–95 | Proximity-weighted geothermal potential |
| grid_access | tiered on substation count + max voltage (see 2.3) | 15–100 | Transmission access density |
| renewable_potential | round(solar×0.40 + wind×0.35 + min(geo,30)×0.25) | 0–95 | Blended renewable resource (geo capped at 30 in the blend) |
| storage_suitability | min(95, 45 + round(GHI × 8)) | ~45–95 | Climate proxy for battery cycle suitability |

Geothermal distance decay: a zone's score falls off linearly to 50% of base at the search radius edge (default radius_km = 500). A site *on* a zone keeps full base potential; a site at the radius edge keeps half. Zones beyond the radius are dropped. nearest_zone / nearest_zone_km report the closest one.

### 2.3 grid_access tiers (from live substation query)

Substations are pulled from the substations table within a lat/lng bounding box, then filtered by true haversine distance. sub_count = number within radius; max_kv = highest voltage among them.

| Condition | grid_access |
| --- | --- |
| sub_count == 0 | 15 |
| sub_count < 3 | 35 + min(max_kv/10, 25) |
| sub_count < 10 | 55 + min(max_kv/10, 20) |
| sub_count ≥ 10 | 75 + min(max_kv/20, 20) |

Capped at 100.

### 2.4 Headline composite scores

| Score | Route | Formula | Weighting rationale |
| --- | --- | --- | --- |
| geothermal_score | /api/v1/geothermal-potential | effective_score of the nearest zone | Proximity-weighted resource |
| colocation_score | /api/v1/colocation-score | round(renewable_potential×0.40 + grid_access×0.25 + tax_incentives×0.20 + geothermal_bonus×0.15) | Renewables-led co-location suitability |
| microgrid_score | /api/v1/microgrid-viability | round(solar×0.30 + wind×0.25 + geothermal×0.20 + storage_suitability×0.25) | Balanced generation + storage mix |
| total_estimated_available_mw | /api/v1/grid-headroom | Σ per-substation headroom (see 2.6) | Point-estimate transmission headroom |

### 2.5 Derived economics (colocation route)

| Variable | Formula | Units | Basis |
| --- | --- | --- | --- |
| estimated_ppa_discount_pct | round((renewable_potential − 50) × 0.8, 1) if renewable_potential > 50 else 0 | % | MODELED indicator, not a quote |
| carbon_reduction_potential_pct | round((solar_score + wind_score) / 2 × 0.9, 1) | % | MODELED indicator |

Read as directional. These are screening indicators derived from resource scores, not PPA quotes or verified emissions figures. Actual PPA pricing and carbon accounting require utility/offtaker confirmation.

### 2.6 Grid-headroom estimate (point estimator)

total_estimated_available_mw sums a per-substation headroom drawn from voltage class, for up to the 10 nearest substations:

| Voltage class | Est. available MW/substation |
| --- | --- |
| ≥ 500 kV | 800 |
| ≥ 345 kV | 500 |
| ≥ 230 kV | 300 |
| ≥ 138 kV | 150 |
| ≥ 115 kV | 100 |
| ≥ 69 kV | 50 |
| < 69 kV | 20 |

Rating bands: Abundant (≥2 GW) · Strong (1–2 GW) · Adequate (500 MW–1 GW) · Moderate (200–500 MW) · Constrained (<200 MW).

★ Honesty fix (2026-06-26), important for reVeal: /api/v1/grid-headroom is a point estimator — it needs a lat/lon. It does not resolve an ISO/region to real geography. When called for an ISO/region with no explicit point, it returns available: false, reason: "not_region_specific" and points to /api/v1/grid/intelligence/<ISO> — it will not substitute a default point and mislabel one location's headroom as an ISO's. Use the point estimator for a specific site; use grid-intelligence for ISO-level demand/fuel-mix/queue data.

### 2.7 ARIES / research-alignment flags (microgrid route)

Boolean flags, not scores — surfaced for NLR ARIES program alignment:

| Flag | Condition |
| --- | --- |
| islanding_candidate | microgrid_score ≥ 65 |
| high_renewable_fraction | (solar + wind)/2 ≥ 65 |
| geothermal_baseload | geothermal ≥ 50 |
| storage_integration | storage_suitability ≥ 60 |
| dc_powerplant_concept | geothermal ≥ 80 AND microgrid_score ≥ 75 |

The recommended_configuration array (solar / wind / optional geothermal baseload / battery MWh) is sized off the caller's capacity_mw using fixed DC-load ratios (solar 1.5×, wind 0.8×, geothermal 0.4× when the zone qualifies, storage 2× MWh).

## Part 3 — Access tiering (how these variables gate)

The derived-intelligence routes are tier-gated (r43-H, 2026-05-28). NLR's issued key, the reVeal integration, DC Hub internal callers, and real dchub.cloud browsers receive the full breakdown. Anonymous external curl traffic receives a headline teaser (location + top-line score + upgrade hint) with the granular component breakdown and geocoded substation detail withheld. The gate fails open on infrastructure error so a gate hiccup never blanks a legitimate NLR call.

## Provenance & citation

Geometry: measured — geodesic spherical-excess area, planar-shoelace centroid, on caller- or DC-Hub-hosted WGS84 GeoJSON. Zero DC Hub positional error.

Scores: modeled — NREL (solar GHI, wind class), USGS EGS Atlas + NLR/NREL research zones (geothermal), IRA/state incentive proxies, HIFLD substation DB (grid).

Cite as: "DC Hub (dchub.cloud)". Parcel reads carry CC-BY-4.0.

*Prepared for the DC Hub × NLR partnership. Formulas mirror production code as of 2026-07-15; see linked source files for the authoritative implementation.*